Appendix 6

Risk Assessment Form for Contained Use of Genetically Modified Microorganisms.

(Form GMM – for genetically modified micro-organisms and eukaryotic cell and tissue culture systems)

| - General Project Information |  |  |
| --- | --- | --- |
| Department: | Principal Investigator: Ref. No: |  |
| Scientist/s undertaking the project: |  |  |
| Project Title: |  |  |
| Overview of Project: (include aims and objectives) |  |  |
| Give details of Recipient/Host(s): (specify if wild type or disabled) |  | Vector(s): |
| Normal/expected biological action of inserted DNA/RNA or transcribed/translated gene product: |  |  |
| Technique used to introduce insert or vector into host: |  |  |
| Person filling in Risk Assessment (signature of P.I. required if not the person filling in this document) Permission granted by Head of Department for project to be undertaken | Yes☐ No☐ |  |
| Signature: Signature of P.I | Date: Date: |  |
| Risk Assessment assessed by the technical team and approved by UM Biosafety Committee | Yes☐ No☐ |  |
| Signature: (The Chairperson) | Date: |  |
| Approval granted by Biosafety Officer | Yes☐ No☐ |  |
| Signature: | Date: |  |

| - RISK ASSESSMENT FOR HUMAN HEALTH AND SAFETY Human health hazard identification – (Identify any potential harmful properties of:) - the recipient micro-organism (for micro-organisms also give ACDP hazard group) |  |  |  | GUIDANCE Potentially harmful effects include: disease to humans – consider all properties which may give rise to harm eg: infection, toxins, cytokines, allergens, hormones,etc alteration of existing pathogenic traits – consider alteration of tissue tropism or host range, alteration in susceptibility to human defence mechanisms etc adverse effects resulting from inability to treat disease or offer effective prophylaxis possibilities for any disablement or attenuation to be overcome by recombination or complementation adverse effects resulting from the potential for transfer of inserted genetic material to another micro-organism |
| --- | --- | --- | --- | --- |
| - the inserted (donated) genetic material |  |  |  |  |
| - the donor micro-organisms (where used/appropriate) |  |  |  |  |
| - the vector |  |  |  |  |
| - the resulting genetically modified micro-organism |  |  |  |  |
| Brenner Scheme values |  |  |  |  |
| Access | Expression | Damage | Overall |  |
| Control measures – Assign provisional containment level: Containment Level: with Good Microbiological Practice and Good Occupational Safety and Hygiene |  |  |  | Assign a provisional containment to control the hazards identified above taking account of severity of any consequence and likelihood of harm occurring. Select from 1,2,3 or 4 |
| - NATURE OF WORK TO BE UNDERTAKEN |  |  |  | GUIDANCE Consider any activities that may involve risks which require specific additional control measures such as: - the use of equipment or procedures likely to generate aerosols - large scale work |
| Give brief description of types of laboratory procedures |  |  |  |  |
| Provide details of any non-standard laboratory operations |  |  |  |  |
| Additional control measures required for specific risks: |  |  |  |  |

| - RISK ASSESSMENT FOR ENVIRONMENTAL HARM Environmental hazard identification - Identify any potentially harmful properties of: | GUIDANCE Potentially harmful effects include: - disease to animals including allergenic and toxic effects - disease to animals and plants - adverse effects resulting from inability to treat disease or offer effective prophylaxis - adverse effects resulting from establishment or dissemination of the GMMs in the environment - adverse effects resulting from the natural transfer of inserted genetic material to other organisms |
| --- | --- |
| - the recipient micro-organism |  |
| - the inserted (donated) genetic material |  |
| - the donor micro-organisms (where used/appropriate) |  |
| - the vector |  |
| - the resulting genetically modified micro-organism Where potentially harmful effects are identified estimate: |  |
| - consequence/severity of effects | Select from: Severe/Medium/Low/Negligible |
| - likelihood of effects being released (taking containment and control measures assigned above into account) | Select from: High/Medium/Low/ Negligible |
| - overall risk | Select from: High/Medium/Low/Effectively zero |
| Additional control measures required to reduce all risks to low/effectively zero: |  |
| - TRAINING OF PERSONNEL |  |
| - Are all workers familiar with the local rules and GMM regulations on safe working and waste disposal methods? | Yes/ No |
| - Are the specific training records for GMM work kept? | Yes/ No |
| - WASTE DISPOSAL | GUIDANCE Class 1 waste can be disposed directly into authorized clinical waste stream or disposed after disinfectant inactivation. This ensures that any contact between GMMs and the environment is limited to an extent commensurate with the risks identified in the risk assessment, and provides a high level of protection for humans and the environment. GMM contaminated waste (Class 2 or 3) must be rendered non-viable (autoclaving for solid, validated disinfectant treatment for liquid before removal or disposal from the premises). |
| - Type(s) of GMM waste generated |  |
| - Route(s) of disposal and decontamination implemented |  |
| - Autoclave on site Yes/ No |  |
| - Decontamination occurs on site Yes/ No (When using an off-site decontamination facility, provide details of the location and decontamination method(s) used |  |

| - CLASSIFICATION AND ASSIGNMENT OF FINAL CONTROL MEASURES Consider each item on Table 1A: indicate whether or not it is required taking account of the provisional containment level assigned to protect human health and safety and any additional control measures necessary to control specific activities and environment risks | GUIDANCE The highest numbered column in which a control measure is required indicates the Class of the activity –(Refer to Table 1A) |
| --- | --- |
| Classification: Class: |  |
| Assign corresponding level of containment: Containment Level: | The class number indicates the minimum containment level required |
| Specify any other control measures required |  |
| Does the laboratory meet the requirements for small scale activities involving GMM contained use? Yes/ No | GUIDANCE If ‘Yes’ is selected you are confirming that the laboratory meets the appropriate requirements for a particular level of containment, as listed in the Regulations of S.L.549.49 (Refer to Table 1A for the containment measures) |

Table 1A: Containment Measures for Activities involving GMMs in Laboratories

When a specification is listed as optional at that particular containment level, its requirement should be determined by the risk assessment for the particular activity concerned.

| Containment Measures | Containment Levels |  |  |  |
| --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | 4 |
| Specifications |  |  |  |  |
| - Laboratory suite: isolation(i) | Not required | Not required | Required | Required |
| - Laboratory sealable for fumigation | Not required | Not required | Required | Required |
| Equipment |  |  |  |  |
| - Surfaces resistant to water, acids, alkalis, solvents, disinfectants, decontamination agents and easy to clean | Required for bench | Required for bench | Required for bench and floor | Required for bench, floor, ceiling and walls |
| - Entry to lab via airlock(ii) | Not required | Not required | Optional | Required |
| - Negative pressure relative to the pressure of the immediate surroundings | Not required | Not required | Required except for(i) | Required |
| - Extract and input air from the laboratory should be HEPA filtered | Not required | Not required | Required (HEPA)(iii)extract air except for(iv) | Required (HEPA)(v)input and extract air |
| - Microbiological safety cabinet/enclosure | Not required | Optional | Required | Required |
| - Autoclave | Required on site | Required in the building | Required in the lab en suite(vi) | Required in lab (double ended) |
| System of work |  |  |  |  |
| - Access restricted to authorized personnel | Not required | Required | Required | Required |
| - Biohazard sign on the door | Not required | Required | Required | Required |
| - Specified measures to control aerosol dissemination | Not required | Required so as to minimize | Required so as to prevent | Required so as to prevent |
| - Shower | Not required | Not required | Optional | Required |
| - Protective clothing | Suitable protective clothing required | Suitable protective clothing required and (optional) footwear | Suitable protective clothing required | Complete change of clothing and footwear before entry and exit |
| - Gloves | Not required (recommended) | Optional | Required | Required |
| - Control of disease vectors (eg rodents, insects) which could disseminate GMMs | Optional | Required | Required | Required |
| Waste |  |  |  |  |
| - Specified disinfection procedures in place | Optional | Required | Required | Required |
| - Inactivation of GMMs in effluent from handwashing sinks or drains and showers and similar effluents | Not required | Not required | Optional | Required |
| - Inactivation of GMMs in contaminated material and waste | Optional | Required | Required | Required |
| Other measures |  |  |  |  |
| - Laboratory to contain its own equipment | Not required | Not required | Optional | Required |
| - An observation window or alternative so that occupants can be seen | Optional | Optional | Optional | Required |
| CLASSIFICATION | CLASS 1 | CLASS 2 | CLASS 3 | CLASS 4 |

iIsolation = the laboratory is separated from other areas in the same building or is in a separated building.

iiAirlock= entry must be through an airlock which is a chamber isolated from the laboratory. The clean side of the airlock must be separated from

the restricted side by changing or showering facilities and preferably by interlocking doors.

iiiActivities where transmission does not occur via airborne route.

ivHEPA = High efficiency particulate air.

vWhere viruses which are not retained by HEPA filters are used, extra requirements will be necessary for extract air.

viWith validated procedures, allowing the safe transfer of material into an autoclave outside the lab, and providing an equivalent level of protection.

-------------------------------------------------------------------

Disclaimer:

Table 1A was adopted from the Subsidiary Legislation.549.49 at the time this Risk Assessment was compiled (January 2020) and is subject to modification. Prior to the filling of this Risk Assessment, applicants are thus encouraged to consult with Schedule IV of S.L.549.49, for further information on containment and other protective measures for GMM laboratory activities